1.0	PURPOSE

Good housekeeping and good work habits are fundamental to a safe and healthful work environment and are a measure of the efficiency of operations.  The purpose of this procedure is to provide a framework to assure plant cleanliness and order.

2.0	DEFINITION

Housekeeping refers to keeping plant areas and equipment neat and clean, keeping designated walkways, aisle ways, roadways, etc., free of materials and equipment, storing materials and equipment in an orderly and proper manner and properly disposing of scrap and surplus materials on a regular basis.  Simply put, it means that things are where they ought to be for maximum productivity - quality - safety - cost control.

3.0	RESPONSIBILITIES AND DUTIES

3.1	Department Managers and Area Leaders shall be responsible for:

3.1.1.	Maintaining their assigned areas, both inside and outside of buildings, in a “good housekeeping” condition through:

a.	Establishing expectations and providing training to personnel in good housekeeping and proper work practices, and establishing such activities as a part of the daily routine.

b.	Establishing and following a routine cleaning schedule (each shift or as needed based on operations activities) for assigned plant areas and equipment, essentially, all surfaces eight (8) feet and below.

c.	Planning and providing adequate time for inspection and cleanup activities.

d.	Conducting regular inspections of assigned areas.

3.1.2.	Planning and providing for adequate and safe storage areas for materials and equipment.

3.1.3.	Designating areas or locations for the disposition of scrap or surplus material; providing labeled or marked disposal containers and arranging for their removal on a regular basis.

3.2	Decontamination Department shall be responsible for:

3.2.1.	Cleaning overhead areas such as ceilings, lights, overhead pipes and structures, building side walls and certain special equipment such as electrical control panels and transformers, essentially, all surfaces eight (8) feet and above.

3.2.2	Maintaining/replacing in-line duct filters and cleaning diffusers and ceiling vents.

3.2.3.	A detailed written cleaning schedule for plant areas shall be established and followed.  Refer to Attachment I.

3.3	Janitorial/Laundry staff shall be responsible for:

3.3.1.	Establishing and following a detailed written cleaning procedure for rest rooms, offices, lunch rooms, locker rooms, and other designated areas.

3.4	Outside Maintenance shall be responsible for:

3.4.1.	Establishing and following a detailed written schedule for sweeping plant roadways and outside surfaces.  Refer to Attachment 2.

3.4.2.	Maintaining trash dumpsters at plant site.

3.4.3.	Removal of trash and debris around plant perimeter areas and fences.

3.5	Each employee is responsible for:

3.5.1.	Maintaining their assigned work area and equipment in a “good housekeeping” condition at all times.

4.0	GENERAL CLEANING GUIDELINES

The following guidelines generally apply to cleaning surfaces eight (8) feet and below, but may also apply to cleaning surfaces eight (8) feet and above, particularly the cautionary statements in items 4.1.d. and e.

4.1	Vacuum the area using the “blue line” central vacuum system with appropriate attachments such as handles, hand tools, bare floor tools, etc. The proper attachment allows for simpler and faster cleanups.  If you feel a special attachment is needed to perform a routine task, notify your supervisor.

a.	Make sure hoses and attachments are returned to the proper racks and storage cabinets.  If additional storage accessories are needed, notify your supervisor.

b.	If a blue line vacuum is not available or an area can’t be reached, notify your supervisor.  Your supervisor can borrow or purchase a portable high efficiency vacuum or arrange for installation of a vacuum outlet.

c.	Wet sponging can be done, without vacuuming first, on “light” accumulations of dust.  Light accumulations of dust can be defined as amounts which will not tend to form piles when wiping.  Any dust accumulation not identified as “light” must first be vacuumed.  A respirator must be worn when wet sponging non-vacuumed areas.

d.	CAUTION:  The use of brooms causes elevated air counts and, therefore, must only be used as outlined in the plant broom policy.

e.	CAUTION:  Use of compressed air for cleaning causes elevated air counts and is prohibited.

4.2	Wet clean the area using either a wet sponge for small surfaces or a water hose for large surfaces such as floors.

a.	Floor areas that are hosed should be squeegeed whenever possible.

b.	Light accumulations of dust around floor drains must be washed into the drain.  One minute of water flow should be put down the floor drains after hosing and squeegeeing an area to prevent blockage.  Contamination can only be washed down industrial sewer drains, not storm sewer drains.  Drains are marked as “IW” for industrial sewers and “STM” for storm sewers.

5.0	INSPECTIONS AND REPORTING

5.1	Department Managers and Area Leaders shall:

A.	Ensure routine housekeeping inspections of their areas are performed using the housekeeping inspection form (Attachment 3).

B.	Review the housekeeping inspection forms, follow up on items needing corrective action and personally inspect their areas to verify good housekeeping conditions.

5.2	The Leader of Facilities Services shall:

A.	Perform periodic inspections of plant areas to verify that the decontamination and janitorial cleaning schedules are being followed.

Prepared by: _________________________________________

Approved by: ________________________________________

Approved by: ________________________________________

ATTACHMENT 1

HOUSEKEEPING INSPECTION FORM

| AREA |  |  |  |
| --- | --- | --- | --- |
| DATE INSPECTED |  |  |  |
| INSPECTOR |  |  |  |

| A place is in order when there are no unnecessary things about and when all necessary things are in their proper places. |  |  |  |  |
| --- | --- | --- | --- | --- |
| MACHINERY AND EQUIPMENT |  |  |  |  |
|  | - Must be clean and free of unnecessary material or hangings and debris around equipment |  |  |  |
|  | - Must be free of unnecessary dripping of oil or grease |  |  |  |
|  | - Must have proper guards provided and in good condition |  |  |  |
| STOCK AND MATERIAL |  |  |  |  |
|  | - Must be properly piled and arranged |  |  |  |
| TOOLS |  |  |  |  |
|  | - Must be properly stored |  |  |  |
|  | - Must be free of oil and grease when stored |  |  |  |
|  | - Must be in safe working condition |  |  |  |
| AISLES |  |  |  |  |
|  | - Must be provided to work positions, fire extinguishers, safety showers, and eyewash stations |  |  |
|  | - Must be safe and free of obstructions |  |  |  |
|  | - Must be clearly marked |  |  |  |
| FLOORS |  |  |  |  |
|  | - Must have surfaces safe and suitable to work |  |  |  |
|  | - Must be clean, dry and free of refuse, unnecessary material, oil and grease |  |  |  |
|  | - Must have an adequate number of receptacles provided for refuse |  |  |  |
| BUILDINGS |  |  |  |  |
|  | - Must have walls and windows that are reasonably clean for operations in that area and free |  |  |  |
|  | of unnecessary hanging |  |  |  |
|  | - Must have lighting systems that are maintained in a clean and efficient manner |  |  |  |
|  | - Must have stairs that are clean, free of materials, well lit, provided with adequate hand rails |  |  |  |
|  | and treads in good condition |  |  |  |
|  | - Must have platforms that are clean, free of unnecessary materials and well lit |  |  |  |
| GROUNDS |  |  |  |  |
|  | - Must be in good order, free of refuse and unnecessary materials |  |  |  |
| COMMENTS: |  |  |  |  |